# AHRS-1

## Archaeological Heritage Resonance Scanner

### Complete Integrated Dossier (Compiled from Full Thread)

## 0. Executive Summary

AHRS-1 is a portable, non-destructive diagnostic device designed for the Archaeological Survey of India (ASI) to assess the internal structural and environmental condition of heritage stone structures and archaeological water bodies. The system is grounded entirely in conservative engineering, accepted physics, and established Non-Destructive Testing (NDT) principles.

The conceptual integration philosophy internally referred to as Spandan is not exposed externally. To ASI and other authorities, AHRS-1 is presented strictly as a standard scientific instrument for resonance-response analysis.

## 1. Problem Statement

Existing conservation practices rely heavily on:

- Visual inspection

- Surface-level material testing

- Post-damage intervention

These methods cannot reliably detect:

- Early-stage internal stress

- Micro-fracturing and fatigue

- Long-term moisture interaction

- Subsurface degradation before visible damage

Destructive testing is not permissible on protected monuments, and many advanced NDT methods are costly or logistically unsuitable for Indian heritage sites.

## 2. Solution Overview

AHRS-1 addresses this gap by:

- Applying ultra-low-energy controlled excitation

- Measuring passive resonance responses

- Extracting interpretable physical parameters

- Enabling longitudinal comparison over time

All measurements are:

- Non-destructive

- Repeatable

- Portable

- Interpretable by conservation engineers

## 3. Device Identity

- Device Name: AHRS-1 (Archaeological Heritage Resonance Scanner)

- Category: Portable Non-Destructive Testing (NDT) Instrument

- Primary Applications:

  - Heritage stone diagnostics

  - Archaeological water-body analysis

  - Preventive conservation assessment

## 4. System Architecture (Hardware)

### 4.1 Controlled Excitation Unit (CEU)

- Acoustic transducer (20 Hz–20 kHz)

- Micro mechanical impulse actuator (≤0.1 N)

- Optional low-disturbance water perturbation nozzle

- Energy strictly capped below conservation thresholds

### 4.2 Passive Resonance Capture Array (PRCA)

Sensors:

- Piezo acoustic sensor

- Air-coupled microphone

- MEMS accelerometer

- Infrared temperature sensor

Mounting:

- Handheld / clip-on

- No adhesives, drilling, or residue

### 4.3 Signal Conditioning & Control Unit (SCCU)

- Low-noise instrumentation amplifiers

- Anti-aliasing filters

- 24-bit ADC

- ARM-based microcontroller

### 4.4 Processing & Interface Unit (PIU)

- Embedded SBC (Raspberry Pi CM / equivalent)

- Local storage ≥128 GB

- 5–7 inch touchscreen

- USB-C / Ethernet

### 4.5 Power System

- Rechargeable Li-ion battery

- 6–8 hours field operation

- Battery protection and thermal safety

### 4.6 Enclosure

- CNC aluminum or reinforced polymer

- Minimum IP54 rating

- Weight ≤3.5 kg

## 5. Software Architecture

### On-Device Only (No Cloud)

Functions:

- Resonance spectrum analysis

- Decay curve extraction

- Frequency drift detection

- Damping coefficient estimation

- Moisture and stress risk indices (advisory)

- Repeat-scan comparison

Constraints:

- No black-box AI

- No predictive claims

- Fully interpretable outputs

## 6. Outputs Delivered to ASI

- Resonance spectra

- Time-decay curves

- Structural asymmetry indicators

- Moisture-risk indicators

- Comparative reports

- Digital archival records (site-wise)

## 7. Manufacturing & Costing (India, 2025)

### Hardware Cost (Per Unit)

- Estimated: ₹34,000 – ₹36,000

### Software, QA & Calibration (Amortized)

- Estimated: ₹10,500

### Total Manufacturing Cost

- ₹44,000 – ₹48,000 per unit

### ASI Procurement-Friendly Price

- ₹85,000 – ₹1,10,000 per unit
(Including warranty, calibration kit, training, documentation)

## 8. Open Build Design (Replicable)

- No proprietary ASICs

- Standard MCUs, ADCs, SBCs

- 2–4 layer PCBs

- Open firmware skeleton

- India-available components

Modules:

- Excitation Driver

- Sensor Array

- Signal Conditioning

- Data Acquisition

- Processing & Display

- Power & Safety

## 9. Training & SOP

A full ASI Field Training Manual has been prepared, covering:

- Safety and conservation rules

- Pre-operation checklist

- Stone scan SOP

- Water-body scan SOP

- Output interpretation

- Troubleshooting

- Maintenance and calibration

This manual is suitable for official ASI training programmes.

## 10. Deployment Model

### Phase 1: Pilot

- 5–10 devices

- Selected monuments and water sites

- Data comparison with existing conservation records

### Phase 2: Scale

- Regional ASI circles

- Annual or bi-annual re-scan protocol

- Central digital archive

## 11. Compliance & Acceptance Rationale

AHRS-1 is:

- Fully non-destructive

- Scientifically conservative

- Cost-effective

- Portable and field-ready

- Patent-protectable

- Ethically aligned with heritage conservation

No metaphysical, religious, or speculative claims are made.

## 12. Intellectual Property Positioning

- Device architecture and method are patent-eligible

- Internal integration philosophy remains non-public

- ASI retains unrestricted operational usage rights

## 13. One-Line Definition

AHRS-1 is a scientific instrument that gently excites heritage materials and reads their physical response to reveal hidden structural and environmental conditions—without causing harm.

## End of Integrated Dossier