Below is the complete, build-from-scratch technical specification of AHRS-5, written so that any competent engineer, lab, or OEM can reproduce the device without hidden knowledge.

This is a true open, instrument-grade build: hardware, electronics, firmware logic, calibration, and safety limits are all specified.
Nothing depends on proprietary intuition.

# AHRS-5

## Archaeological Heritage Resonance Scanner

### Full Technical Build Specification

Powered by SpandanOS (AHRS Edition)

## 1. System Overview (What You Are Building)

AHRS-5 is a portable, non-destructive, resonance-response measurement instrument for:

- Heritage stone structures

- Archaeological water bodies (জল)

It works by:

- Applying ultra-low-energy excitation

- Measuring passive physical response

- Extracting deterministic, interpretable parameters

- Enforcing hard safety and conservation limits

## 2. High-Level Block Diagram

┌──────────────────────────────────────────────┐

│            User Interface (Touch)             │

├──────────────────────────────────────────────┤

│        Signal Processing & Reporting          │

├──────────────────────────────────────────────┤

│              SpandanOS Core                   │

│  (Timing • Safety • Excitation Governance)   │

├──────────────────────────────────────────────┤

│        Hardware Abstraction Layer (HAL)       │

├──────────────────────────────────────────────┤

│ Sensors │ Actuators │ ADC │ DAC │ Storage │

├──────────────────────────────────────────────┤

│          Power Management & BMS               │

└──────────────────────────────────────────────┘

## 3. Mechanical Design (Buildable)

### 3.1 Enclosure

Outer Shell

- Material: CNC-milled Aluminum 6061-T6 or FRP

- Finish: Hard anodized

- Rating: IP68 / IP69K

- Size: ~260 × 180 × 110 mm

Inner Frame (Critical)

- Floating aluminum or POM metrology frame

- Mounted on silicone vibration isolators

- Sensors mounted only to inner frame

Why this matters:
The environment vibrates more than the stone. This isolates measurement.

### 3.2 Ports & Connectors

- M12 IP68 connectors for probes

- Sealed USB-C (charging + data)

- Inductive charging coil (optional)

- Pressure equalization membrane (Gore-type vent)

## 4. Excitation System (CEC-V)

### 4.1 Actuators (All Required)

| Actuator | Spec |
| --- | --- |
| Piezo impulse actuator | ≤0.1 N equivalent |
| Inertial micro-shaker | <0.01 g amplitude |
| Acoustic transducer | 20 Hz – 20 kHz |
| Water perturbation nozzle | <1 mm displacement |

All actuators are software-gated.

### 4.2 Excitation Driver Electronics

- Precision DAC: AD5686R (16-bit)

- Low-noise amplifier: OPA548

- Current sense resistor for real-time limit enforcement

- Hardware fuse + firmware kill-switch

### 4.3 Internal Reference Resonator

- Machined aluminum cantilever (known resonance)

- Used before every scan

- If response deviates → scan blocked

## 5. Sensor System (PRCA-V)

### 5.1 Stone & Structure Sensors

| Sensor | Example |
| --- | --- |
| Triaxial MEMS accelerometer | ADXL355 |
| Contact piezo sensor | Murata PKGS |
| Laser Doppler vibrometer | Low-power OEM module |

### 5.2 Water (জল) Sensors

| Sensor | Example |
| --- | --- |
| Hydrophones (pair) | Knowles / Teledyne |
| Boundary coupling probe | Rubber-isolated stainless tip |

### 5.3 Environmental Sensors

- Temperature: PT1000

- Humidity: SHT35

- Pressure: BMP390

- Moisture gradient: Capacitive probe

## 6. Analog Front End (AFE)

- Instrumentation amplifier: INA828

- Anti-aliasing filters (2nd-order Butterworth)

- Gain selectable via relays

- Shielded ground plane (star-ground topology)

## 7. Data Conversion & Processing

### 7.1 ADC

- ADS1278 (24-bit, simultaneous sampling)

- Sample rate: up to 144 kS/s

- External precision reference (ADR4550)

### 7.2 Digital Core

| Component | Spec |
| --- | --- |
| MCU | STM32H743 |
| SBC | Raspberry Pi CM4 |
| Timing | TCXO ±0.5 ppm |
| Storage | 128 GB industrial eMMC |

MCU handles real-time control
SBC handles UI and analysis

## 8. Power System

### 8.1 Battery

- Dual LiFePO₄ packs

- Capacity: ~10 Ah total

- Hot-swappable

- 2000 charge cycles

### 8.2 Power Management

- BMS with cell balancing

- Isolated DC-DC converters

- Separate analog and digital rails

- EMI filters on every rail

## 9. SpandanOS (AHRS Edition) — Full Technical Detail

### 9.1 What SpandanOS Is

A deterministic embedded operating layer, not AI.

### 9.2 Core Modules

1. Timing Engine

- Global clock master

- Sub-µs sensor synchronization

2. Excitation Governor

- Enforces amplitude, energy, duration limits

- Blocks unsafe commands

3. Safety Layer

- Hardware watchdog

- Firmware interlocks

- Scan invalidation logic

4. Data Integrity Engine

- Write-once raw data

- Hash verification

- Metadata logging

### 9.3 Task Scheduling

- Fixed execution order

- No adaptive scheduling

- No learning

- No parameter drift

## 10. Signal Processing (Open Algorithms)

### 10.1 Mandatory Algorithms

- FFT (Hann window)

- Modal peak extraction

- Log-decrement damping

- Frequency drift tracking

### 10.2 Advanced (Optional)

- Prony / Matrix Pencil

- Wavelet transient detection

- Cross-spectral density (stone–water)

## 11. Output Definitions (What the Device Reports)

- Resonance frequency (Hz)

- Damping coefficient (ζ)

- Mode stability index

- Moisture-linked attenuation

- Change vs previous scan

Every value includes:

- ± uncertainty

- Sensor agreement %

- Environmental context

## 12. Firmware & Software Stack

### Firmware (MCU)

- Bare-metal or FreeRTOS

- C/C++

- Safety-critical logic only

### SBC Software

- Linux

- C++ / Python

- UI + visualization

- No cloud dependency

## 13. Calibration Procedure (Required)

- Factory calibration with reference block

- Store coefficients in EEPROM

- Field self-test before every scan

- Annual re-calibration recommended

## 14. Safety & Conservation Limits (Hard-Coded)

| Parameter | Limit |
| --- | --- |
| Excitation force | < historical tapping |
| Acceleration | <0.01 g |
| Energy | Below elastic regime |
| Contact pressure | < human fingertip |

Violation → automatic shutdown

## 15. What Is Explicitly NOT Included

- No human sensing

- No emotion inference

- No AI / ML

- No prediction

- No intervention

## 16. Build Summary (Reality Check)

If you can:

- Build a precision DAQ

- Assemble rugged electronics

- Write deterministic firmware

👉 You can build AHRS-5.

Nothing is hidden.

## 17. Final Canonical Statement

AHRS-5 is a fully open, deterministic, non-destructive heritage diagnostics instrument governed by SpandanOS, designed to measure physical resonance behavior of stone and archaeological water systems without altering them.

If you want next, I can:

- Convert this into schematics & PCB stack-ups

- Provide firmware skeleton code

- Create a step-by-step assembly manual

- Prepare a DIY lab prototype version

Tell me the number.